
20.05.042  EN-05 (Environmental standards—Karst Geology).
This environmental standards section applies to the following zoning districts: 





(a) Karst Geology. 

(1) Applicability. This section shall apply to all land-disturbing activities on properties that contain surface and subsurface karst features. 

(2) Adjacent Properties. Where surface or subsurface karst features are present on adjacent properties, and where required conservation areas for such karst features would extend onto the subject property, such conservation areas shall be established according to the provisions of this section. 

(3) Compound Karst Features. For the purposes of this subsection, compound karst features shall be defined as any two or more karst features where the last closed contour of the features are located within one hundred feet of each other. The outer boundary of the compound karst feature shall be drawn by connecting the last closed contour of each individual karst feature with a tangential line. 

(4) Karst Conservancy Easement (KCE). All karst features shall be protected by Karst Conservancy Easements. Such easements shall be established in accordance with the following standards: 

(A) No land-disturbing activity, permanent or temporary structures, or the placement of any fill material shall be allowed within a KCE. 

(B) The outer perimeter of the KCE shall be protected with silt fencing and/or tree protection fencing during the entire period of construction. 

(C) For all individual karst features, the KCE shall encompass the entire feature and all of the area within twenty-five feet horizontally from the last closed contour line of the feature. The last closed contour line shall be as shown on the city's geographic information system (GIS) using a contour interval of two feet. When the city has reason to doubt the accuracy of the GIS data, the city shall use field verification to determine the location of the last closed contour. 

(D) For all compound karst features, the KCE shall encompass the entire outer boundary of the compound karst feature as defined in subsection (a)(3), Compound Karst Features above and all of the area within twenty-five feet horizontally from the outer boundary of the compound karst feature. 

(5) Setback. No structures shall be located within ten feet of a Karst Conservancy Easement. 

(6) Stormwater Discharge. Stormwater discharge into a karst feature shall not be increased over its pre-development rate. In addition, such discharge into a karst feature shall not be substantially reduced from pre-development conditions. 

(7) Stormwater Detention. Karst Conservancy Easements shall not be utilized for stormwater detention. Drainage shall be designed to route runoff through vegetative filters or other filtration measures before entering a karst feature. 

(8) Spring or Cave Entrances. Spring or cave entrances shall not be modified except for the placement of a gate to prevent human access. 

(Ord. 06-24 § 3 (part), 2006). 

City code section 20.05.042 EN-05 Karst Geology.doc

